## Slide 1
INTEGRID
EDP Distribuição and ELLEVIO
Notes: Sub-Capa

## Slide 2
Data fields utilized in the HEAD project for the MV/LV power transformers (PT)
Manufacturing year
Data-freeze year
District
Manufacturing Year of a given MV/LV PT
Year of decommission for a given MV/LV PT, which can be due to failure or a management decision
Local of installation for a given MV/LV PT at the district level

## Slide 3
Data fields utilized in the HEAD project for the MV/LV power transformers (PT)
Manufacturer
Installation type
Failure mode
Manufacturing brand for a given MV/LV PT
(i.e. SIEMENS, EFACEC, etc.)
Installation type used when the PT was operationalized
(i.e. PT installed inside a booth or PT installed without a booth)
Failure mode occurred for a given MV/LV PT

## Slide 4
Data fields utilized in the HEAD project for the MV/LV power transformers (PT)
Age
Technology
Failure
Measures the time, in years, between the MV/LV PT year of installation and the decommission year
Differentiates HM/LV PT built with reliable components from ones using economic components, which in turn are less reliable
Indicates which MV/LV PT have failed with a binary classification (i.e. value ”1” for failure and value “0” for no failure)

## Slide 5
Example with 5 data points
The set of records used in the algorithm developed by INESC TEC and EDP Distribuição team describe the MV/LV most relevant characteristics that help explain why the PT has failed.
Manufacturing year | Data-freeze year | District | Manufacturer | Installation type | Failure mode | Age | Technology | Failure
2012 | 2019 | AVEIRO | EFACEC | WITHOUT BOOTH | NONE | 7 | ECONOMICAL | NO FAILURE
1994 | 2019 | BRAGA | SIEMENS | WITH BOOTH | NONE | 25 | ROBUST | NO FAILURE
1980 | 2010 | COIMBRA | EFACEC | WITH BOOTH | ENVIRONMENTAL | 30 | ROBUST | FAILURE
1970 | 2005 | GUARDA | SIEMENS | WITHOUT BOOTH | NONE | 35 | ROBUST | NO FAILURE
2010 | 2017 | PORTO | SIEMENS | WITHOUT BOOTH | OPERATIONAL | 7 | ECONOMICAL | FAILURE

## Slide 6
Manufacturing year | Data-freeze year | District | Manufacturer | Installation type | Failure mode | Age | Technology | Failure
2012 | 2019 | AVEIRO | EFACEC | WITHOUT BOOTH | NONE | 7 | ECONOMICAL | NO FAILURE
1994 | 2019 | BRAGA | SIEMENS | WITH BOOTH | NONE | 25 | ROBUST | NO FAILURE
1980 | 2010 | COIMBRA | EFACEC | WITH BOOTH | ENVIRONMENTAL | 30 | ROBUST | FAILURE
1970 | 2005 | GUARDA | SIEMENS | WITHOUT BOOTH | NONE | 35 | ROBUST | NO FAILURE
2010 | 2017 | PORTO | SIEMENS | WITHOUT BOOTH | OPERATIONAL | 7 | ECONOMICAL | FAILURE
Example with 5 data points
The highlighted record is an example of a MV/LV PT which is still operational. This record is dynamically updated in the ”Age” and “Data-freeze year” data field.

## Slide 7
Manufacturing year | Data-freeze year | District | Manufacturer | Installation type | Failure mode | Age | Technology | Failure
2012 | 2019 | AVEIRO | EFACEC | WITHOUT BOOTH | NONE | 7 | ECONOMICAL | NO FAILURE
1994 | 2019 | BRAGA | SIEMENS | WITH BOOTH | NONE | 25 | ROBUST | NO FAILURE
1980 | 2010 | COIMBRA | EFACEC | WITH BOOTH | ENVIRONMENTAL | 30 | ROBUST | FAILURE
1970 | 2005 | GUARDA | SIEMENS | WITHOUT BOOTH | NONE | 35 | ROBUST | NO FAILURE
2010 | 2017 | PORTO | SIEMENS | WITHOUT BOOTH | OPERATIONAL | 7 | ECONOMICAL | FAILURE
Example with 5 data points
The highlighted record is an example of a MV/LV PT which is still operational. This record is dynamically updated in the ”Age” and “Data-freeze year” data field.

## Slide 8
Manufacturing year | Data-freeze year | District | Manufacturer | Installation type | Failure mode | Age | Technology | Failure
2012 | 2019 | AVEIRO | EFACEC | WITHOUT BOOTH | NONE | 7 | ECONOMICAL | NO FAILURE
1994 | 2019 | BRAGA | SIEMENS | WITH BOOTH | NONE | 25 | ROBUST | NO FAILURE
1980 | 2010 | COIMBRA | EFACEC | WITH BOOTH | ENVIRONMENTAL | 30 | ROBUST | FAILURE
1970 | 2005 | GUARDA | SIEMENS | WITHOUT BOOTH | NONE | 35 | ROBUST | NO FAILURE
2010 | 2017 | PORTO | SIEMENS | WITHOUT BOOTH | OPERATIONAL | 7 | ECONOMICAL | FAILURE
Example with 5 data points
The highlighted record is an example of a MV/LV PT which has failed due to an “ENVIRONMENTAL” factor. This record was last updated in “2010”.

## Slide 9
Example with 5 data points
Manufacturing year | Data-freeze year | District | Manufacturer | Installation type | Failure mode | Age | Technology | Failure
2012 | 2019 | AVEIRO | EFACEC | WITHOUT BOOTH | NONE | 7 | ECONOMICAL | NO FAILURE
1994 | 2019 | BRAGA | SIEMENS | WITH BOOTH | NONE | 25 | ROBUST | NO FAILURE
1980 | 2010 | COIMBRA | EFACEC | WITH BOOTH | ENVIRONMENTAL | 30 | ROBUST | FAILURE
1970 | 2005 | GUARDA | SIEMENS | WITHOUT BOOTH | NONE | 35 | ROBUST | NO FAILURE
2010 | 2017 | PORTO | SIEMENS | WITHOUT BOOTH | OPERATIONAL | 7 | ECONOMICAL | FAILURE
The highlighted record is an example of a MV/LV PT which was decommissioned but has not failed. This record was last updated in “2005”.

## Slide 10
Example with 5 data points
Manufacturing year | Data-freeze year | District | Manufacturer | Installation type | Failure mode | Age | Technology | Failure
2012 | 2019 | AVEIRO | EFACEC | WITHOUT BOOTH | NONE | 7 | ECONOMICAL | NO FAILURE
1994 | 2019 | BRAGA | SIEMENS | WITH BOOTH | NONE | 25 | ROBUST | NO FAILURE
1980 | 2010 | COIMBRA | EFACEC | WITH BOOTH | ENVIRONMENTAL | 30 | ROBUST | FAILURE
1970 | 2005 | GUARDA | SIEMENS | WITHOUT BOOTH | NONE | 35 | ROBUST | NO FAILURE
2010 | 2017 | PORTO | SIEMENS | WITHOUT BOOTH | OPERATIONAL | 7 | ECONOMICAL | FAILURE
The highlighted record is an example of a MV/LV PT which has failed due to an “OPERATIONAL” factor. This record was last updated in “2017”.